## Self Scan - Focus Areas
| % Early adopters with full implementation | Current Implementation Level | Target Implementation Level 2030 | Description of action | Required Investment (€) | Additional annual costs (€) | Energy Efficiency Improvement 2030 | GHG Emission Improvement 2030
1.1 Plant Electrification | Early Adopters | Current state | Target 2030 |  |  |  | Early Adopters = 1,5% | Early Adopters = 2,0% | 2024 | 2030
1.1.1 Pumps | 33% | [7 empty] | 0 | 0
1.1.2 Compressors | 40% | [7 empty] | 0 | 0
1.1.3 Heating elements | 40% | [7 empty] | 0 | 0
1.1.4 Vehicles and forklifts | 53% | [7 empty] | 0 | 0
1.1.5 Other | 0% | [7 empty] | 0 | 0
1.2 Sustainable Asset Replacement | Early Adopters | [5 empty] | Early Adopters = 5,3% | Early Adopters = 4,9% | 2024 | 2030
1.2.1 Led Lighting | 67% | [7 empty] | 0 | 0
1.2.2 Smart and adaptive lighting | 47% | [7 empty] | 0 | 0
1.2.3 High-efficiency HVAC | 33% | [7 empty] | 0 | 0
1.2.4 High-efficiency motors and drives | 60% | [7 empty] | 0 | 0
1.2.5 Life extension, refurbishment and overhaul | 53% | [7 empty] | 0 | 0
1.2.6 Circularity for sustainable replacement | 40% | [7 empty] | 0 | 0
1.2.7 Other | 0% | [7 empty] | 0 | 0
1.3 Production Process Reengineering | Early Adopters | [5 empty] | Early Adopters = 3,0% | Early Adopters = 2,1% | 2024 | 2030
1.3.1 Process optimization and redesign | 53% | [7 empty] | 0 | 0
1.3.2 Product conversion | 27% | [7 empty] | 0 | 0
1.3.3 (Partial) plant closure | 7% | [7 empty] | 0 | 0
1.3.4 Building (a partial) new factory | 27% | [7 empty] | 0 | 0
1.3.5 Circularity from process reengineering | 13% | [7 empty] | 0 | 0
1.3.6 Other | 0% | [7 empty] | 0 | 0
2.1 Asset Energy Efficiency Care | Early Adopters | [5 empty] | Early Adopters = 4,3% | Early Adopters = 3,2% | 2024 | 2030
2.1.1 Regular cleaning | 73% | [7 empty] | 0 | 0
2.1.2 Lubrication | 60% | [7 empty] | 0 | 0
2.1.3 Filter maintenance | 60% | [7 empty] | 0 | 0
2.1.4 Operator maintenance | 47% | [7 empty] | 0 | 0
2.1.5 Routine inspections | 73% | [7 empty] | 0 | 0
2.1.6 Monitor equipment settings | 53% | [7 empty] | 0 | 0
2.1.7 Other | 0% | [7 empty] | 0 | 0
2.2 Predictive Maintenance | Early Adopters | [5 empty] | Early Adopters = 1,8% | Early Adopters = 0,6% | 2024 | 2030
2.2.1 PdM via condition monitoring | 73% | [7 empty] | 0 | 0
2.2.2 PdM through integrative data analysis | 33% | [7 empty] | 0 | 0
2.2.3 PdM and prescriptive maintenance | 33% | [7 empty] | 0 | 0
2.2.4 Other | 0% | [7 empty] | 0 | 0
2.3 HighPrecision Maintenance | Early Adopters | 0 | 0 |  |  |  | Early Adopters = 0,2% | Early Adopters = 0,1% | 2024 | 2030
2.3.1 Precision measurement | 27% | [7 empty] | 0 | 0
2.3.2 Laser accurate alignment | 33% | [7 empty] | 0 | 0
2.3.3 Accurate calibration of instruments | 27% | [7 empty] | 0 | 0
2.3.4 Managing high tolerances | 27% | [7 empty] | 0 | 0
2.3.5 Quality assurance | 13% | [7 empty] | 0 | 0
2.3.6 Clear maintenance instructions | 33% | [7 empty] | 0 | 0
2.3.7 Other | 0% | [7 empty] | 0 | 0
3.1 Electrical Energy Optimization | Early Adopters | [5 empty] | Early Adopters = 4,9% | Early Adopters = 2,0% | 2024 | 2030
3.1.1 HVAC optimisation | 67% | [7 empty] | 0 | 0
3.1.2 Lighting upgrades | 60% | [7 empty] | 0 | 0
3.1.3 Motors and drives | 53% | [7 empty] | 0 | 0
3.1.4 Load balancing | 33% | [7 empty] | 0 | 0
3.1.5 Power factor correction | 33% | [7 empty] | 0 | 0
3.1.6 Other | 0% | [7 empty] | 0 | 0
3.2 Thermal Energy Recovery & Reuse | Early Adopters | 0 | 0 |  |  |  | Early Adopters = 3,6% | Early Adopters = 3,1% | 2024 | 2030
3.2.1 Heat recovery systems | 60% | [7 empty] | 0 | 0
3.2.2 Cogeneration systems | 7% | [7 empty] | 0 | 0
3.2.3 District heating and cooling | 0% | [7 empty] | 0 | 0
3.2.4 Integrate industrial processes | 20% | [7 empty] | 0 | 0
3.2.5 Thermal storage systems | 7% | [7 empty] | 0 | 0
3.2.6 Other | 0% | [7 empty] | 0 | 0
3.3 Thermal Energy Loss Prevention | Early Adopters | [5 empty] | Early Adopters = 2,5% | Early Adopters = 1,9% | 2024 | 2030
3.3.1 Insulation | 73% | [7 empty] | 0 | 0
3.3.2 Thermal imagingand infrared thermography | 40% | [7 empty] | 0 | 0
3.3.3 Temperature sensors | 53% | [7 empty] | 0 | 0
3.3.4 Other | 0% | [7 empty] | 0 | 0
4.1 Fugitive Emission Prevention | Early Adopters | [5 empty] | Early Adopters = 0,6% | Early Adopters = 0,8% | 2024 | 2030
4.1.1 Leak detection and repair (LDAR) | 20% | [7 empty] | 0 | 0
4.1.2 Sealing and repair | 13% | [7 empty] | 0 | 0
4.1.3 Emission control technologies | 13% | [7 empty] | 0 | 0
4.1.4 Other | 0% | [7 empty] | 0 | 0
4.2 GHG Capturing & Reuse | Early Adopters | [5 empty] | Early Adopters = 0,0% | Early Adopters = 0,0% | 2024 | 2030
4.2.1 Captore technologies | 7% | [7 empty] | 0 | 0
4.2.2 Transport and storage | 0% | [7 empty] | 0 | 0
4.2.3 Use and conversion | 0% | [7 empty] | 0 | 0
4.2.4 Biological conversion | 7% | [7 empty] | 0 | 0
4.2.5 Other | 0% | [7 empty] | 0 | 0
4.3 Renewable Energy Generation | Early Adopters | [5 empty] | Early Adopters = 3,3% | Early Adopters = 7,4% | 2024 | 2030
4.3.1 Solar energy systems | 67% | [7 empty] | 0 | 0
4.3.2 Wind energy systems | 47% | [7 empty] | 0 | 0
4.3.3 Biomass energy systems | 13% | [7 empty] | 0 | 0
4.3.4 Geothermal energy systems | 13% | [7 empty] | 0 | 0
4.3.5 Other | 0% | [7 empty] | 0 | 0
Total | [6 empty] | Early Adopters = 31,1% | Early Adopters = 28%
Total action plan - Focus Areas |  |  |  |  | 0 | 0 | 0% | 0%

## Self Scan - Strategy & Tactics
| % Early adaptors with full implementation | Current Implementation Level | Target Implementation Level 2030 | Description of action | Required Investment (€) | Additional annual costs (€)
0.1 Strategy | Early Adaptors | Current state | Target 2030 |  |  |  | 2024 | 2030
0.1.1 Alignment of mission, vision and values | 80% | [5 empty] | 0 | 0
0.1.2 Sustainability culture | 73% | [5 empty] | 0 | 0
0.1.3 (Legal) compliance and standards | 73% | [5 empty] | 0 | 0
0.1.4 Performance measurement and reporting | 73% | [5 empty] | 0 | 0
0.2 Processes | Early Adaptors | [5 empty] | 2024 | 2030
0.2.1 Asset Portfolio Optimisation process | 53% | [5 empty] | 0 | 0
0.2.2 Asset Health Optimisation process | 40% | [5 empty] | 0 | 0
0.2.3 Energy Consumption Optimisation process | 73% | [5 empty] | 0 | 0
0.2.4 GHG Emission Optimisation process | 40% | [5 empty] | 0 | 0
0.3 Standards | Early Adaptors | [5 empty] | 2024 | 2030
0.3.1 ISO 55000 standard for Asset Management | 27% | [5 empty] | 0 | 0
0.3.2 ISO18436 standard for condiion monitoring | 33% | [5 empty] | 0 | 0
0.3.3 ISO 50001 standard for energy management | 33% | [5 empty] | 0 | 0
0.3.4 ISO 14001 standard for environmental systems | 47% | [5 empty] | 0 | 0
0.4 IT systems | Early Adaptors | [5 empty] | 2024 | 2030
0.4.1 Asset Portfolio Management systems | 53% | [5 empty] | 0 | 0
0.4.2 RealTime Condition Monitoring systems | 67% | [5 empty] | 0 | 0
0.4.3 Energy Management systems | 67% | [5 empty] | 0 | 0
0.4.4 Emission Management systems | 40% | [5 empty] | 0 | 0
0.5 Staff training | Early Adaptors | [5 empty] | 2024 | 2030
0.5.1 Staff training on Asset Portfolio Optimisation | 47% | [5 empty] | 0 | 0
0.5.2 Staff training on Asset Health Optimisation | 47% | [5 empty] | 0 | 0
0.5.3 Staff training on Energy Consumption Optimisation | 67% | [5 empty] | 0 | 0
0.5.4 Staff training on GHG Emission Optimisation | 40% | [5 empty] | 0 | 0
0.6 Artificial Intelligence | Early Adaptors | [5 empty] | 2024 | 2030
0.6.1 AI for Asset Portfolio Optimisation | 27% | [5 empty] | 0 | 0
0.6.2 AI for Asset Health Optimisation | 27% | [5 empty] | 0 | 0
0.6.3 AI for Energy Consumption Optimisation | 40% | [5 empty] | 0 | 0
0.6.4 AI for GHG Emission Optimisation | 20% | [5 empty] | 0 | 0
Total
Total action plan - Strategy & Tactics |  |  |  |  | 0 | 0
0

## Scan Diagrams
M4S Scan Diagrams
Current state
Target 2030

## Energy Consumption
Energy Consumption | Amount | Unit | Price (€) | Costs (€) | ton CO₂-eq / unit | ton CO₂-eq
Fossil Fuels
Natural Gas |  | m3 |  | 0 | 0.00209 | 0
Green / Renewable Gas |  | m3 |  | 0 | 0.00038 | 0
Petrol |  | l |  | 0 | 0.00285 | 0
Diesel |  | l |  | 0 | 0.00302 | 0
Liquefied petroleum gas (LPG) |  | l |  | 0 | 0.0017 | 0
Compressed natural gas (CNG) |  | kg |  | 0 | 0.002865 | 0
Ethanol E85 |  | l |  | 0 | 0.001055 | 0
Biodiesel (B100) |  | l |  | 0 | 0.001435 | 0
Coal |  | kg |  | 0 | 0.00234 | 0
Electricity
Grey Electricity |  | kWh |  | 0 | 0.0007 | 0
Green Electricity |  | kWh |  | 0 | 5e-05 | 0
Totaal |  |  |  | 0 |  | 0

## GHG Emission
Controlled GHG emission | Type | ton | Conversion factor | ton CO2-eq CO2 | Futigitive GHG emission | Type | ton | Conversion factor | ton CO2-eq CO2
1. CO2 from fuel usage | CO2 | 0 | 1 | 0 | 1. CO2 from fuel usage | CO2 |  | 1 | 0
2. CO2 from chemical process | CO2 |  | 1 | 0 | 2. CO2 from chemical process | CO2 |  | 1 | 0
3. CH4 from chemical process | CH4 |  | 28 | 0 | 3. CH4 from chemical process | CH4 |  | 28 | 0
4. N20 from chemical process | N20 |  | 265 | 0 | 4. N20 from chemical process | N20 |  | 265 | 0
5. SF6 from chemical process | SF6 |  | 23500 | 0 | 5. SF6 from chemical process | SF6 |  | 23500 | 0
6. NF3 from chemical process | NF3 |  | 16100 | 0 | 6. NF3 from chemical process | NF3 |  | 16100 | 0
7. Other from chemical process |  |  |  | 0 | 7. Other from chemical process |  |  |  | 0
8. Other from chemical process |  |  |  | 0 | 8. Other from chemical process |  |  |  | 0
9. Other from chemical process |  |  |  | 0 | 9. Other from chemical process |  |  |  | 0
10. Other from chemical process |  |  |  | 0 | 10. Other from chemical process |  |  |  | 0
Total |  |  |  | 0 | Total |  |  |  | 0
Current GHG emission |  | ton CO2-eq CO2 | EUR/ton CO2 | Costs (€)
Total eCO2 |  | 0 |  | 0

## Business Case
Business Case
Current Energy Costs | Energy Efficiency Improvement 2030 | Annual Saving in 2030 | ROI
0 | 0% | 0 | #DIV/0!
Current GHG Emission Costs | GHG Emission Improvement 2030 | Annual Saving in 2030 | NPV | Discount Factor | Period (years)
0 | 0% | 0 | #DIV/0!
Total Investments | Total Annual Costs | Total Saving in 2030 | PBP (years)
0 | 0 | 0 | #DIV/0!

## Tabels (hidden)
Implementation degree | Implementation score
0. Not Implemented | 0
1. Pilot Implementation | 1
2. Roll out | 2
3. Fully implemented | 3
0